VCD

Review artiche 1

These devices have been demonstrated to reduce the time to hemostasis, facilitate patient mobilization, and decrease in hospital length of stay. A relative high incidence of deployment failure is the main disadvantage of the most device. Although there is much heterogeneity between different studies, in two recent meta-analyses there is no difference in complication rates between the different type of device in diagnostic catheterization, vasoseal compared with angioseal., perclose, and manula compression is worse in PCI group.

Closure device choice should be guided by the operator familiarity. In patients requiring repeat catheterisation within 3 months preference leans more staple or sutured device. Patients undergoing vascular closure after PCI have higher complication than closure after diagnostic catheterisation, but no less than manual compression. Complication rate after platelet inhibitors remain controversial. The rate of access site related  complication appears to be similar

•Vasoseal: Consists of a purified collagen plug that induces the formation of a hemostatic cap extravascularly to the surface of the femoral artery

•Duett: a balloon-based catheter and procoagulant mixture containing collagen and thrombin that facilitates extravascular thrombosis.Once the procoagulant comes in contact with blood the blod clotting process is accelerated. SEAL Trial: reduction of both time to hemostasis and time to ambulation. Major complication rates did not differ between two groups.

•QuickSeal: delivers a porcine gelatine sponge for extavascular closure of FA

•Perclose was the first suture mediated closure device.The safety and the efficacy of Perclose were evaluated in the multicenter STAND I registry(5 and 6 F sheath) and STAND II randomized trial(8-10F Prostar). A main draw back of using perclose is deployment failure. The rate of major complications did not differ between two group

•X site: Over the wire device including a guidewire, a suture attached to two needles, and a knot pusher.

•SuperStitch: nonabsorbable surgical suture to achieve closure of FA. The rates of immediate hemostasis were rather low. Foture randomized trial are necessary.

Stamples mediated Device: •Starclose (ABBOTT)

•EVS Vascular Closure System device (angiolink corporation): biocompatible titanium stample.

•Thereseal is an ultrasound based device that noninvasively targets and delivers ultrasound energy to the puncture site sealing within seconds. ThereSeal has been evaluated in a small clinical feasibility study including 8 patients.

•Syvek Patch is an external applied sterile nonwoven pad of cellulosic polymer and poly-N-acetyl glucosamine, which is isolated from microalgae. Application of pad promotes local clot formation  and vasoconstriction

•Cura et al compared the safety and efficacy of angioseal vs perclose. Failure to obtained the hemostasis was not related to platelet GP IIB/IIIA inhibitors.

•JACC 2002 Applegate. Angioseal vs perclose. Similar complication, both lower than manual compression

Meyerson: compared access-site related complications with/without closure device in 4800 endovascular procedures. The rates of complication were identical in both VCD and manual compression. Vasc Endovascular surgery 2002.

Dangas et al. ,JACC 2001 :more hematoma and more surgical interventions with VCD. 516 VCD, 5892 manual.

# Meta-analysys from Nikolsky, JACC 2004, 18 randomized studies and 12 nonrandomized no difference in vascular complication between angioseal and manual compression in diagnostic and PCI groups. Similar observations were made regarding perclose. Vasoseal was not associated with an increased risk complication in diagnostic procedure while in the PCI setting there was an increased rate of complication.

# Koreny at al: a meta-analysis on only randomised trial (diagnostic and PCI): complication rate were not significantly different.

# The authors found a high degree of heterogeneity among the trials.

# Cost-effectiveness: The main decrease in cost was attribuited to the ability of patients to mobilize earlier, thus leading to earlier discharge.

## REVIEW article 2

The gold standard method to achieve arterial hemostasis remains manual compression, but the advance in interventional procedures have increased the use of new devices that require large sheets, periprocedural anticoagulation and antiplatelet therapy with a consequent increase in the access site related complication. Percutaneous arterial closure device were introduced in 1990. They allow to have hemostasis with minimal or no compression also with continued anticoagulation. Although these device reduced the time to obtain the hemostasis and length of patient immobility, they have not decreased the complication rate versus manual compression.

Perclose chiude fino al 10F, DUETT FINO AL 9.

Descrizione angioseal pag 871

UTILE QUANDO SI PARLA DI PUNTURA RETROGRADA:

The majority of published work on closure device is from cardiology literature, where patients with peripheral vascular disease are generally excluded. Instead just these patients are very often ideal candidate for the use of a vascular device, in fact after a peripheral artery recanalization the patients  are anticoagulated and antiaggregated. A device mediated closure eliminates a prolonged sheath dwell time and a prolonged manual compression that reduce artery flow. Moreover vascular closer device reduce the immobilization time.

Beyer-Enke and al. reported a prospective randomized study of angioseal in 100 patients with peripheral vascular disease that had been treated with femoropopliteal angioplasty.The single major complicationwas an occlusion of femoral artery caused by anchor interaction with plaque. n.71 Cardiovasc Interventional Radiol 1996;

STUDI A CONFRONTO:

In the diagnostic groups, closure devices were as effective as manual compression , even though complication rates were usually higher, but rarely significant. In the therapeutic groups, closure device had the effectiveness of manual compression (without normalization of coagulation parameters) and complication rates were equivalent. Some risk factors identified for manual compression persist with device closure: age older than 65 years old, female sex, diabetes, hypertension, smaller body size, previous catheterization within 30 days and an actvated clotting time >300 seconds. Infectious complications were seen with vasoseal, angioseal and perclose. These infection often require urgent operative management with surgical removal of any foreign body.CAREY In a large prospective non randomised trial found angioseal and vasoseal device to have higher complication than perclose and manual compression. Catheter Cardiovasc Intervention 2001. The cost of angioseal and vasoseal was evaluated in a metaanalysis of health care system, in which They described a riduction of cost because there was a consequnetreduction. Although the majority of studies in the cost/benefits analysis did not address reduction of length of stay, calculations based on a 1 day reduction found device-mediated closure to be more cost-effective.Patients at risk for infection, such as diabetic,immune compromised, on steroid therapy, or have long sheath dwell times, warrant antibiotic prophylaxis.

ANGIOSEAL:employs an intra-arterial anchor to draw a small amount of collagen, attached to it by a suture. Vasoseal induces formation of hemostatis thrombus by deposition of collagen directly over the arterial puncture and within the subcutaneous puncture channel, the angioseal device uses an anchor to stabilize the system and to prevent intraarterial collagen placement.

Thalhammer: 7376 patients.Where-as in older publications pseudoanerysm dominated the list ov vascular complication, more recent workemphasised the importance of ischemic complication such arterial stenosis, thrombosis, and embolism. The reason forincreased ischemic risk may be related to the prothrombotic exposure of collagen when the whole deice has been inadvertenly deployed into the lumen. In addition tha achor can compromise the arterial lumen as a foreign body, particularly in case of incorrect placement or of orregular vassel walls and lead to intimal dissection or plaque disruption

Early ambulation with vascular closer device:immediate mobilization following use of angioseal. (Manzi et al.; Schwimmbeck et al J Invasive cardiology 2002)

Boccalandro et al: Vascular acces site complications with closure device (perclsoe-Angisoeal)vs  manual compression in rescue Pci vs elected PCI. Catheter cardiovascular Intervention 2006. No difference

Randomized comparison of vasoseal and angioseal closure device in patients undergoing coronary angiography and angioplasty. Shammas et al. Cathet cardiovasc Intervent 2002,no difference two device

ANGIOSEAL: the cost is approximately 128 euros. Complications in patients with high risk of hematoma with manual compression could have led to extended hospital stay

Applagate I Intervent Cardiol. 2006: same complication for third generation of angioseal vs first generation and manual compression