PROPOSED TITLES:

Endovascular treatment of thoracic aortic disease using the Endofit Stent Graft: short and midterm (2,5 yrs) outcomes from a single center experience

Thoracic aortic endograft with a new device: Endofit Stent Graft. Short and mid-term (2,5 yrs) outcome from a single center.

Thoracic aortic endograft with the Endofit Stent Graft. Short and mid-term (2,5 yrs) outcome from a single center.

Endovascular treatment of thoracic aortic disease using the Endofit Stent Graft: short and midterm outcomes from a single center experience

Key words: Thoracic aortic aneusysm, Endovascular therapy, Endofit

Abstract

Background: endovascular repair of thoracic aortic disease has shown in comparison to open repair significant reduction in perioperative mortality, operative time, ICU stay and major complications. The aim of this study was to evaluate short and midterm outcomes of endovascular treatment of thoracic aortic pathology using a novel device: the Endofit Stent Graft by Le MaitreVascular.

Methods: From January 2002 to January 2007, 41 patients were treated with Endofit Stent Graft for thoracic aortic disease. All patients data were obtained by a retrospective review from electronic and hospital paper records. Indications for treatment were: progression of aneurysm size in atherosclerotic aneurysms (n=24, mean aneurysmal diameter: 7.191.48), acute contained aortic rupture (n=5, two of these presented aortoesophageal fistula as complicating factor), recurrent pain and persistent hypertension or progression of aneurysm size despite maximal medical therapy in patients with aortic type B dissection (n=6), recurrent pain in patients with penetrating atherosclerotic ulcers (n=4), post-traumatic pseudoaneurysm ( n=1) and post-decoartation aneurysm (n=1).

Results: In all 41 patients  the stent graft was successfully deployed. In hospital and the thirty days mortality was 7.32% (three patients). We observed three postoperative endoleaks (7.32%). One proximal type I endoleak (Ia) and one distal (Ib), that were respectively spontaneously solved during one and three months of follow up. In a third patient with type Ia endoleak was necessary to perform, after one year, an open surgical conversion. During follow up, two secondary  type Ia endoleaks were observed and treated with an additional stent graft. Acute myocardial infarction, need for dialysis, respiratory failure, graft  migration, infection or fracture were not observed in our patients. There was only one spinal ischemia with consequent lower extremity weakness, no paraplegia was observed in our patients. There were seven total deaths (17%) during the follow up period, but only one (2,4%) was aneurysm related. Average follow up was 24.818 months, at two years overall patients survival by Kaplan-Meier analysis was 70% and aneurysm related survival was 89%.

Conclusion: Endovascular treatment of vascular disease involving the descending thoracic aorta can be safely performed  with a novel device: Endofit Stent Graft. We found few vascular access complications, no fracture or migration, and  only one spinal ischemia with at two years aneurysm related survival of 89%.

Introduction

The incidence and prevalence of thoracic aortic aneurysm are universally increasing (1a-bc). This can be attributed to the aging of population and the increased use of diagnostic procedures in other thoracic pathologies, such as the evaluation of patients who sustain chest wall trauma.  For specific pathologies as atheroscletoric aneurysm, dissection, intramural hematoma, penetrating ulcer, or post-traumatic pseudoaneurysm, open surgical repair of thoracic aorta has been considered the gold standard strategy (2 a-b). Since its introduction, however, endovascular repair of thoracic aortic disease has shown in comparison to open repair reductions in perioperative mortality, operative time, ICU stay and major complications, especially spinal cord ischemia with resultant paraplegia (3,4).  In particular, the risks of an open surgery of thoracic aorta becomes prohibitive in the elderly population (>75 years) mainly in those having multiple comorbidities  (cardiac, pulmonary or renal). Endovascular treatment of thoracic aortic disease may offer, in selected patients with suitable aortic anatomy, both short and midterm advantages when compared with open surgery, because it avoids a thoracotomy and thoracic aortic clamping. (c-d)

In our center, between October 1999 until January 2007, we treated 96 patients with thoracic endografts, acquiring experience and analysing the characteristics of different and most popular endografts available: Talent (AVE/Medtronic, Santa Rosa, Calif), Excluder (W.L.Gore & Associates, Flagstaff, Ariz), Zenith (William Cook, Europe, Bjaeverskov, Denmark). The aim of this study was to report on early and mid term results from our experience in 41 consecutive patients who received endovascular thoracic aortic repair with a novel device: The Endofit Stent Graft  (Le Maitre Vascular) which obtained Conformité Européenne (CE) marking in June 2001.

PATIENTS AND METHODS

A retrospective review of all patients who underwent endovascular grafting for thoracic aortic disease from  January 2002 to January 2007  using the Endofit Stent Gtaft was done at our Institution. Informed consent and institutional review board approval was obtained for all patients.

The population consisted of 41 patients (33 men and 8 women) with an average age of 69.39.7 years (range 48 to 84 years). Patient demographics, clinical and radiological data were obtained from electronic and paper records. Most patients had several risk factors so they were judged to have very high open surgical risk (Table I). Indications for treatment were: progression of aneurysm size in 24  atherosclerotic aneurysms (58.54%), with a mean aneurysmal diameter of 7.191.48, acute contained aortic rupture in 5 patients (12.20%) and two of these presented aortoesophageal fistula as complicating factor; recurrent pain and persistent hypertension or progression of aneurysm size despite maximal medical therapy in  6 patients with aortic type B dissection (14.63%), recurrent pain in 4 patients with penetrating atherosclerotic ulcers (9.76%), 1 post-traumatic pseudoaneurysm ( 2.44%) and 1 patient with post-decoartation aneurysm (2.44%) (Table II).

All patients underwent spiral computed tomographic angiography (CTA) scanning of chest, abdomen and pelvis with three-dimensional reconstruction before endovascular treatment to determine the location, length and diameter of the diseased aortic segment and the adeguate size of distal vascular access. Stent graft dimensions were calculated from CTA images (oversized by 10% to 20% compared with the landing zone, but only little oversizing was done in cases of aortic dissection). Proximal stent graft diameter ranged from 28mm to 42mm. All but 3 grafts had proximal free-flow configuration.

The anatomic suitability for endovascular grafting was determined by a proximal neck > 1.5 cm  and a distal aortic neck > 2cm in length, so in patients, with a short proximal neck, was necessary to cover the origin of left subclavian artery, in these patients a careful examination of extra and intracranial circulation was performed.

General anesthesia was used in  14 patients (34.15%) and spinal anesthesia in 27 patients (65.85%). After surgical exposure, common femoral artery was the most common site for insertion, but in three patients was necessary to perform a retroperitoneal approach because of an insufficient size of femoral artery and in 1 patient a right subclavian  approach was chosen. A 6 F pig tail was placed through the controlateral femoral artery to perform angiography for a correct graft deployement and to assess for endoleaks at the end of procedure. In case of endoleak additional balloon dilatations with a special trilobed balloon (                         ) or a supplementary stent graft placement were carried out. Intraoperative transesophageal echocardiography was routinely used only in aortic dissection patients to

position the stent graft into the true aortic lumen and to control the efficacy of the procedure. All patients received systemic heparin (70 IU/kg) and pharmacologic hypotension (average systolic 80 mmHg) was induced by the anesthesiologist at the time of deployment. More than one graft were used in 19 patients (46 %), in these cases an overlap of at least 2-4 cm was performed.

Device description and deployment

The EndoFit Stent Graft (Fig. ) is composed of self-expanding nitinol stents which are encapsulated in two layers of ePTFE (expanded polytetrafluoroethylene) fabric using a thermal process that avoids the need for fixation sutures, this sutureless design is very important because eliminates the potential for suture breakage and graft material tearing. There is no interface of the metallic stents with blood or the aortic wall. There are available two versions of the graft, one without free flow and one with a free flow stent that is linked to the first covered stent with two rods. The graft is introduced into the vessel through a hydrophilic 24 F sheath with a tapered conic dilator over a stiff 0.035” HD guide wire up to the site intended for deployment. Platinum markers allow precise placement and clear visualization of graft. It can be deployed quite easily by simple but very energic pulling of the sheath. We advice to deploy the stent in only one step. The graft is currently available in the following sizes: graft proximal diameter 30–42 mm, graft distal diameter 30–42 mm, graft length 12–24 cm. Are also available proximal extenders (cuffs) of 5 and 7 cm of length, largest diameter 42mm, with and without  external fixation and extenders made up 10 cm in length and no external fixation. Real tapered grafts for chronic type B dissections are also available, from proximal size of 36-38 down to 22-24 mm in a 20 cm lenght.

From January 07 it is available the third and last model of the endofit Stent Graft with a shorter flex tip in order  to be less traumatic during the passage in the aortic arch. and to stay closer to the aortic valve.

Follow-up     CT scan was routinely performed at 1, 6, 12 months and annually thereafter. A 3 months CT scan was done in patients with endoleak. All significant events were recorded.

Statistical analysis

Each categorical factor is described as the number and percentage of patients. Continuous variables

are presented as mean ±standard deviation (SD) values, if appropriate. The Kaplan Meier curves are used to plot overall and aneurysm related survivals over time. Statistical analysis was performed with SPSS 13.0 statistical software program.

RESULTS:

In all 41 patients the stent graft was deployed successfully (100% deployment success). There was no acute myocardial infarction, no need for dialysis, no respiratory failure, no graft  migration, infection or fracture (Table III). We had only one one spinal ischemia with consequent lower extremity weakness, no paraplegia was observed in our population. In three patients the proximal landing zone was judged to be too close to the left subclavian artery, so It was necessary to cover the left subclavian artery but a left common carotid-left subclavian by-pass was considered not necessary before stent graft deployment. No one of these patients developed   ischemic posterior circulation symptoms or arm claudicatio.

Patient mortality and morbidity

Aneurysm related mortality

Definition: Any death before hospital discharge or within 30 days of the procedure, or due to aneurysm rupture. There were three inhospital deaths, (7.32%). The first patient experienced an episode of hypotension and bradycardia after graft deployment, so It was necessary to position a temporary pacing and to start inotrope therapy. He died after two weeks for cardiac arrest in multisystem organ failure. The second and the third patient developed fatal cerebral vascular accident respectively one and two days after the procedure.

In the follow-up there was only one aneurysm related death, 17 months after the procedure for aneurysm enlargement and rupture, the patient expired ten minutes after the arrival in emergency room.

Artery access complications

We had two artery access complications: one femoral artery dissection and one iliac artery rupture. Both were promptly surgically repaired without any consequence.

Endoleaks and reinterventions

At discharge we recorded two proximal type I endoleaks, one spontaneously  solved thirty days post graft deployment and one required open surgical conversion after one year. One patient had a distal tybe I B endoleak that spontaneously  solved after three months.

During follow up we found two new type I endoleaks, one patient after twenty months and the other after 4 years, they were both treated with additional Stent graft  and are actually free from leak and in good health.

One patient developed a retrograde type A dissection 15 months postprocedure and underwent emergent replacement of the aortic valve and ascending aorta with an uneventfull postoperative course.

Follow up

Average follow up was 24.818 months. There were seven total death during the follow up period (17%), but only one was aneurysm related, the mean age was 76 years and they had several and severe comorbidities including coronary artery disease (n=3), previous stroke (n=2), severe chronic pulmonary obstructive disease (n=5), history of cancer (n=2), concomitant abdominal aortic aneurysm repair (n=1).

The Kaplan –Meier survival curves (figure 1) show patients freedom from all mortality and from aneurysm related mortality. At 2 years, the survival rates are 70% and 89% respectively.

In figure 2, Kaplan –Meier curve show patients freedom from secondary endovascular or open surgery interventions.

Discussion

Endovascular stent graft treatment of patients with thoracic aortic disease was introduced   in 1992 at Stanford University and in 1994 Dake reported the results of their initial experience (5). It was initially indicated for the treatment of descending thoracic aortic aneurysm with custom made devices for high surgical risk patients; subsequently also in patients with aortic type B dissections and penetrating atherosclerotic ulcers (6)(7).

Endovascular stent graft has become a less invasive treatment alternative for thoracic aortic disease, especially in elderly patients who very often present comorbidities including coronary and cerobrovascular disease, renal failure, chronic obstructive pulmonary disease. In fact in these patients respiratory complications and severe renal failure represent the most frequent cause of morbidity and mortality, reported between 5.3% to 33% and 2.5% to 13.3% respectively (8).

In our series of 41 patients we did not observe acute respiratory failure, acute myocardial infarction or worsening of renal failure. Another major complication in the open surgery of descending aorta is the spinal cord ischemia with resultant paraplegia. The main risk factors of spinal cord ischemia are perioperative hypotension, prior history of infrarenal abdominal aortic aneurysm repair, long segment coverage of the thoracic aorta compromising the intercostals arteries to the spinal cord. In fact despite advances in surgical techniques, with reimplantation of intercostal arteries and shortened cross clamping times, this complication occurs in approximately 7-17% of cases (4). In our patients no case of paraplegia was observed, we had only one spinal cord ischemia with consequent lower extremity weakness. This is an interesting result particularly if we compare to the spinal cord neurological events occurred  in others endovascular series (9)(10). Spinal cord protection manoeuvres (spinal fluid drainage) were not used in our patients, we reduced as far as possible the hypotension time during the delivering of the graft and  regain a blood pressure ≥120/80 mmHg soon after the procedure in order to reduce the spinal ischemic risk .

A careful study of the angiogramm and/or CT scan is the first step to determinate the anatomic suitability for endovascular grafting  and to limit the vascular complications because of an  insufficient size of distal vascular access. Endofit device has a hydrophilic introducer sheath of  24 F so, to limit vascular complications, we need a femoral artery with a diameter >8mm. In our study common femoral artery was the most common site for insertion, but in three patients was necessary to perform a retroperitoneal approach (12 mm Dacron conduit end to site into the common iliac artery) because of an insufficient size  of femoral artery; in one patient a right subclavian  approach was done due to the occlusion of the abdominal aorta. We had  two vascular major complications (4.8%), both  promptly and successfully surgically repaired. In other studies 10-15% of vascular injuries are reported (11)(12). No in hospital conversion to open surgical repair was performed in our patients.

The anatomic suitability is defined by a proximal neck > 1.5cm and a distal aortic neck of > 2cm in length, so in three patients, with a short proximal neck, was necessary to cover the origin of left suclavian artery. Many European centers have experienced few complications from covering the left subclavian artery (13), we generally select very well these patients and reserve  pre or perioperative carotid-subclavian  by-pass for those in which It is necessary to preserve left internal mammary artery and/or left vertebral artery because critical posterior cerebral circulation.

In-hospital and 30 day mortality for emergent and non emergent cases treated by open surgical repair have been reported to range from 5.5% to 22.6%, up to 39% in patients with ruptured thoracic aortic aneurysm and acute aortic dissection (14)(15)(16). The Eurostar and UK Thoracic Endograft registry reported a 30 day mortality of 9.3% (17). We recorded and in hospital and 30 day mortality of 7.32% (three patients), two of these were consequence of fatal strokes. They were old patients with several comorbidities and  severe atherosclerotic disease, that could  be a predisposing condition to embolisation days after deployment of the graft.

We had a low incidence of endoleaks, at the discharge  only three patients (7.32%). One proximal type I endoleaks (Ia) and one distal (Ib), that were respectively solved during one and three months of follow up. In fact some endoleaks have the tendency to thrombose spontaneously.  Instead the third patient, that was discharged with a type Ia endoleak, after one year of follow up needed of a open surgical conversion. This patient had a type A aortic dissection and during the same admission to the hospital  he underwent to a combined open surgical repair of arch and ascending aorta with reimplantation of left carotid artery and endovascular treatment with endofit device of descending aorta. Our strategy in patients with B aortic dissection is to cover the proximal entry point, and stent the rientries up to the celiac a.

During follow up two patients (4.8%) developed type I endoleak, one after twenty months and the other after 4 years, they were both treated with an additional graft. No type II or III endoleak was observed in our study population. Feature of this device in comparison to the others are the significant flexibility and the tapered design, which enables a customized and dedicated seating of the graft in different sizes of descending thoracic aorta. The flexibility of the introducer system allows to limit the vascular complications as it results fron our data in comparison to other devices (11)(12). Moreover the flexible construction permits deployment in sharply curved aortic anatomies without kinking, no fractures or collapse were observed in our population of patients. Our data are similar to those of Saratziz (18) and different from those reported by Melissano (19). We believe that the disappointing results of Melissano & Coll. were the consequence of selection of patients with critical anatomies in a very initial learning curve with  this device. Anyway, we didn’t have so many complications with the first generation of Endofit graft and we noticed a technical improvement in the last generation. Moreover, our patients were at very high surgical risk and almost half were acute (6 patients with aortic type B dissection, recurrent pain in 4 patients with penetrating atherosclerotic ulcers, acute contained aortic rupture in 5 patients) so we didn’t do a real selection of patients, as in Saratziz study, and we used this device also to treat very difficult anatomies.

About spinal ischemia, the same important result was obtained in our, in Melissano and in Saratziz study: no spinal ischemia was observed in Melissano and in Saratziz study, only one in our study with consequent lower extremity weakness, no paraplegia also in our patients, this is an interesting result particularly if we compare this data with others  (9)(12)(17)(20).

The Endofit Stent Graft  device can be deployed quite easily by pulling the sheath but in our experience we noticed that It’s very  usefull to do it in only one and quick pull back, with a very energic pull, to minimize the risk of kinking particularly in patients with angulated anatomies.

The natural course of untreated thoracic aortic aneurysm bigger than 6 cm in diameter is aneurysm rupture with a 2 years survival of 30%  (21). A recent study reported a 3-years survival of 50% to 70% after surgery of thoracic aortic aneurysm and aortic dissection (22). No one of our patients  was a good candidate for open surgery, in our population  late  (2,5 yrs) mortality rate was 17% and dependent largely on underlying pathologies; in fact only one death was aneurysm related. Average follow up was 24.818 months. The Kaplan –Meier survival curves (figure 1) show patients freedom from all mortality and from aneurysm related mortality. At 2,5 years, the survival rates are 70% and 89% respectively.

In conclusion: our results suggest that Endofit Stent Graft can be safely deployed in high surgical risk patients with good results. We found few vascular access complications, no fracture or migration of the graft, few endoleaks, and  only one spinal ischemia. Midterm results are very encouraging, these results need to be confermed by a longer term follow up.

References

- Fabian TC, Richardson JD, Croce MA, Smith JS Jr, Rodman G Jr, Kearney PA, et al. Prospective study of blunt aortic injury: multicenter trial of the American Association for the Surgery of Trauma. J Trauma 1997; 42: 374-83.

- Svensson LG, Labib SB. Aortic dissection and aortic aneurysm surgery. Curr Opin Cardiol 1994; 191-9.

- Buffolo E., da Fonseca JHP, de Souza JAM, Alves CMR. Revolutionary treatment of aneurysm and dissections of descending aorta: the endovascular approach. Ann Thorac Surg 2002; 74: S1815-7.

- Attar S, Cardarelli MG, Downing SW et al. Traumatic aortic rupture: recent outcome with regard to neurologic deficit. Ann Thorac Surg 1999; 67: 959-65.

- Dake MD, Miller DC, Semba C, Mitchell RS, Walker PJ, Liddell RP. Transluminal placement of endovascular stent grafts for the treatment of descending thoracic aortic aneurysm. N Engl J Med 1994; 331: 1729-34.

- Dake MD, Miller DC, Mitchell RS, Semba CP, Moore KA, Sakai T. The first generation of endovascular stent graft for patients with aneurysm of the descending thoracic aorta. J Thorac Cardiovasc Surg 1998; 116: 689-704.

- Murgo S, Dussaussois L, Golzarian J, et al. Penetrating atherosclerotic ulcer of the descending thoracic aorta: treatment by endovascular graft. Cardiovasc Intervent Radiol 1998; 21: 454-8.

- Svensson LG, Crawford ES, Hess KR, Coselli JS, Safi HJ. Variables predictive of outcome in 832 patients undergoing repairs of the descending thoracic aorta. Chest 1993; 104: 1248-53.

- Grayson H.Wheatley III, Ahmet Tayfun Gurbuz, Julio A. Rodriguez-Lopez, Venkatesh G. Ramaiah, Dawn Olsen, James Williams, Edward B. Diethrich. Midterm outcome in 158 Consecutive Gore TAG Thoracic Endoprostheses: single center experience. Ann Thorac Surg 2006; 81: 1570-7.

- Cambria RP, Brewster DC, Lauterbach SR, et al. Evolving experience with thoracic aortic stent graft repair. J Vasc Surg 2002; 35: 1129-36.

- Ishida M, Kato N, Hirano T, Cheng SH, Shimono T, Takeda K. Endovascular stent graft treatment for thoracic aortic aneurysm: short to mid term results. J Vasc Interv Radiol 2004; 15: 361-7.

- Makaroun M.S., Dillavou E.D, Kee S.T, Sicard G., Chaikof E., Bavaria J, Wiliams D., Cambria R.P, Mitchell R.S. Endovascular treatment of thoracic aortic aneurysm: results of the phase II multicenter trial of the GORE TAG thoracic endoprosthesis. J Vasc Surg 2005; 41: 1-9.

- Gorich J, Asquan Y, Seifarth H, Kramer S, Kapfer X, Orend KH, et al. Initial experience with intentional stent graft coverage of the subclavian artery during endovascular thoracic aortic repairs. J Endovasc Ther 2002; 9: SII39-43.

- Galloway AC, Schwartz DS, Culliford AT, RibakoveGH, Grossi EA, Esposito RA, et al. Selective approach to descending thoracic aortic aneurysm repair: a ten years experience. Ann Thorac Surg 1996; 62: 1152-7.

- Glade GJ, Vahl AC, Wisselink W, Linsen MAM, Balm R. Mid Term survival and cost of treatment of patients with descending thoracic aortic aneurysm; endovascular vs open repair; a case control study. Eur J Vasc Endovascular Surg 2005; 29: 28-34.

- Fann JI, Smith JA, Miller DC, Mitchell RS, Moore KA, Grunkemeier G, et al. Surgical management of aortic dissection during a 30-year period. Circulation 1995; 92 (9 Suppl): II 113-21.

- Leurs LJ, Bell R, Degrieck Y, Thomas S, Hobo R, Lundbom J. Endovascular treatment of thoracic aortic diseases: combined experience from the EUROSTAR and United Kingdom Thoracic Endograft registries. J Vasc Surg 2004; 40: 670-80.

- Melissano G., Tshomba Y., Civilini E., Chiesa R. Disappointing results with a new commercially available thoracic endograft. J Vasc Surg 2004; 39: 124-30.

- Saratzis N., Saratzis A., Melas N., Ginis G., Lioupis A., Lykopoulos D., Lazaridis J., Kiskinis Dimitrios. Endovascular treatment of descending thoracic aortic aneurysm with endofit stent graft. Cardiovasc Intervent Radiol 2007 30: 177-81.

- Najibi S, Terramani TT, Weiss VJ, et al. Endoluminal versus open treatment of descending thoracic aortic aneurysm. J Vasc Surg 2002; 36: 732-7.

- Crawford ES, Hess KR, Cohen ES et al. Ruptured aneurysm of the descending thoracic and thoracoabdominal aorta. Analysis according to size and treatment. Ann Surg 1991; 213: 417-25.

- Brandt M, Hussel K, Walluscheck KP, Boning A, Rahimi A, Cremer J. Early and long term results of replacement of the descending aorta. Eur J Vasc Endovasc Surg 2005; 30: 365-9.